1.1 	A bill for an act
1.2 	relating to health; limiting requirements related to backflow prevention in 
1.3 	recreational camping areas;proposing coding for new law in Minnesota Statutes, 
1.4 	chapter 144.
1.5 	BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF MINNESOTA:

1.6 	Section 1. [144.3855] LIMITATION.
1.7 	To meet cross-connection control requirements, as defined in Minnesota Rules, parts 
1.8 	4715.1920 and 4720.0025, the use of a hose connection backflow preventer and a hose 
1.9 	connection vacuum breaker, not rated for continuous use, are permitted at individual 
1.10 	water supply connections in recreational camping areas as defined in section 327.14, 
1.11 	subdivision 8.