1.1 	A bill for an act
1.2 	relating to health; limiting requirements related to backflow prevention in 
1.3 	recreational camping areas;proposing coding for new law in Minnesota Statutes, 
1.4 	chapter 144.
1.5 	BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF MINNESOTA:

1.6 	Section 1. [144.3855] LIMITATION.
1.7 	Cross connection control devices and backflow preventers, as defined in the 
1.8 	Minnesota State Plumbing Code, are not required in recreational camping areas, as defined 
1.9 	in section 327.14, subdivision 8.