1.1 	A bill for an act
1.2 	relating to waters; eliminating conservation rate structure requirement;amending 
1.3 	Minnesota Statutes 2010, section 103G.291, subdivision 3; repealing Minnesota 
1.4 	Statutes 2010, section 103G.291, subdivision 4.
1.5 	BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF MINNESOTA:

1.6 	Section 1. Minnesota Statutes 2010, section 103G.291, subdivision 3, is amended to 
1.7 	read:
1.8 		Subd. 3.Water supply plans; demand reduction. (a) Every public water supplier 
1.9 	serving more than 1,000 people must submit a water supply plan to the commissioner 
1.10 	for approval by January 1, 1996. In accordance with guidelines developed by the 
1.11 	commissioner, the plan must address projected demands, adequacy of the water supply 
1.12 	system and planned improvements, existing and future water sources, natural resource 
1.13 	impacts or limitations, emergency preparedness, water conservation, supply and demand 
1.14 	reduction measures, and allocation priorities that are consistent with section 103G.261. 
1.15 	Public water suppliers must update their plan and, upon notification, submit it to the 
1.16 	commissioner for approval every ten years.
1.17 	(b) The water supply plan in paragraph (a) is required for all communities in the 
1.18 	metropolitan area, as defined in section 473.121, with a municipal water supply system 
1.19 	and is a required element of the local comprehensive plan required under section 473.859. 
1.20 	Water supply plans or updates submitted after December 31, 2008, must be consistent 
1.21 	with the metropolitan area master water supply plan required under section 473.1565, 
1.22 	subdivision 1, paragraph (a), clause (2).
1.23 	(c) Public water suppliers serving more than 1,000 people must employ water 
1.24 	use demand reduction measures~~, including a conservation rate structure, as defined in~~ 
2.1 	~~subdivision 4, paragraph (a), unless exempted under subdivision 4, paragraph (c),~~ before 
2.2 	requesting approval from the commissioner of health under section 144.383, paragraph 
2.3 	(a), to construct a public water supply well or requesting an increase in the authorized 
2.4 	volume of appropriation. ~~Demand reduction measures must include evaluation of~~ 
2.5 	~~conservation rate structures and a public education program that may include a toilet~~ 
2.6 	~~and showerhead retrofit program.~~
2.7 	(d) Public water suppliers serving more than 1,000 people must submit records 
2.8 	that indicate the number of connections and amount of use by customer category and 
2.9 	volume of water unaccounted for with the annual report of water use required under 
2.10 	section 103G.281, subdivision 3.
2.11 	(e) For the purposes of this section, "public water supplier" means an entity 
2.12 	that owns, manages, or operates a public water supply, as defined in section 144.382, 
2.13 	subdivision 4.

2.14 	Sec. 2.  REPEALER.
 2.15 	Minnesota Statutes 2010, section 103G.291, subdivision 4, is repealed.