1.1 	A bill for an act
1.2 	relating to public safety; changing name of Uniform
1.3 	Fire Code to State Fire Code; amending Minnesota
1.4 	Statutes 2004, sections 299F.014; 624.22, subdivision
1.5 	1.
1.6 	BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF MINNESOTA:

1.7 	Section 1. Minnesota Statutes 2004, section 299F.014, is
1.8 	amended to read:
1.9 	299F.014 RULES FOR CERTAIN PETROLEUM STORAGE TANKS; TANK
1.10 	VEHICLE PARKING.
1.11 	(a) Any rule of the commissioner of public safety that
1.12 	adopts provisions of the ~~Uniform~~ State Fire Code relating to
1.13 	aboveground tanks for petroleum storage that are not used for
1.14 	dispensing to the public is superseded by Minnesota Rules,
1.15 	chapter 7151, in regard to:  secondary containment, substance
1.16 	transfer areas, tank and piping standards, overfill protection,
1.17 	corrosion protection, leak detection, labeling, monitoring,
1.18 	maintenance, record keeping, and decommissioning.  If Minnesota
1.19 	Rules, chapter 7151, does not address an issue relating to
1.20 	aboveground tanks for petroleum storage that are not used for
1.21 	dispensing to the public, any applicable provision of the
1.22 	~~Uniform~~ State Fire Code~~, 1997 Edition, shall apply~~ applies.
1.23 	(b) A motorized tank vehicle used to transport petroleum
1.24 	products may be parked within 500 feet of a residence if the
1.25 	vehicle is parked at an aboveground tank facility used for
2.1 	dispensing petroleum into cargo tanks for sale at another
2.2 	location.

2.3 	Sec. 2. Minnesota Statutes 2004, section 624.22,
2.4 	subdivision 1, is amended to read:
2.5 		Subdivision 1.General requirements; permit;
2.6 	investigation; fee.  (a) Sections 624.20 to 624.25 do not
2.7 	prohibit the supervised display of fireworks by a statutory or
2.8 	home rule charter city, fair association, amusement park, or
2.9 	other organization, except that:
2.10 	(1) a fireworks display may be conducted only when
2.11 	supervised by an operator certified by the state fire marshal;
2.12 	and
2.13 	(2) a fireworks display must either be given by a
2.14 	municipality or fair association within its own limits, or by
2.15 	any other organization, whether public or private, only after a
2.16 	permit for the display has first been secured.
2.17 	(b) An application for a permit for an outdoor fireworks
2.18 	display must be made in writing to the municipal clerk at least
2.19 	15 days in advance of the date of the display and must list the
2.20 	name of an operator who is certified by the state fire marshal
2.21 	and will supervise the display.  The application must be
2.22 	promptly referred to the chief of the fire department, who shall
2.23 	make an investigation to determine whether the operator of the
2.24 	display is competent and is certified by the state fire marshal,
2.25 	and whether the display is of such a character and is to be so
2.26 	located, discharged, or fired that it will not be hazardous to
2.27 	property or endanger any person.  The fire chief shall report
2.28 	the results of this investigation to the clerk.  If the fire
2.29 	chief reports that the operator is certified, that in the
2.30 	chief's opinion the operator is competent, and that the
2.31 	fireworks display as planned will conform to the safety
2.32 	guidelines of the state fire marshal provided for in paragraph
2.33 	(f), the clerk shall issue a permit for the display when the
2.34 	applicant pays a permit fee.
2.35 	(c) When the supervised outdoor fireworks display for which
2.36 	a permit is sought is to be held outside the limits of an
3.1 	incorporated municipality, the application must be made to the
3.2 	county auditor, and the auditor shall perform duties imposed by
3.3 	sections 624.20 to 624.25 upon the clerk of the municipality.
3.4 	When an application is made to the auditor, the county sheriff
3.5 	shall perform the duties imposed on the fire chief of the
3.6 	municipality by sections 624.20 to 624.25.
3.7 	(d) An application for an indoor fireworks display permit
3.8 	must be made in writing to the state fire marshal by the
3.9 	operator of the facility in which the display is to occur at
3.10 	least 15 days in advance of the date of any performance, show,
3.11 	or event which will include the discharge of fireworks inside a
3.12 	building or structure.  The application must list the name of an
3.13 	operator who is certified by the state fire marshal and will
3.14 	supervise the display.  The state fire marshal shall make an
3.15 	investigation to determine whether the operator of the display
3.16 	is competent and is properly certified and whether the display
3.17 	is of such a character and is to be so located, discharged, or
3.18 	fired that it will not be hazardous to property or endanger any
3.19 	person.  If the state fire marshal determines that the operator
3.20 	is certified and competent, that the indoor fireworks display as
3.21 	planned will conform to the safety guidelines provided for in
3.22 	paragraph (f), and that adequate notice will be given to inform
3.23 	patrons of the indoor fireworks display, the state fire marshal
3.24 	shall issue a permit for the display when the applicant pays an
3.25 	indoor fireworks fee of $150 and reimburses the fire marshal for
3.26 	costs of inspection.  Receipts from the indoor fireworks fee and
3.27 	inspection reimbursements must be deposited in the general fund
3.28 	as a nondedicated receipt.  The state fire marshal may issue a
3.29 	single permit for multiple indoor fireworks displays when all of
3.30 	the displays are to take place at the same venue as part of a
3.31 	series of performances by the same performer or group of
3.32 	performers.  A copy of the application must be promptly conveyed
3.33 	to the chief of the local fire department, who shall make
3.34 	appropriate preparations to ensure public safety in the vicinity
3.35 	of the display.  The operator of a facility where an indoor
3.36 	fireworks display occurs must provide notice in a prominent
4.1 	place as approved by the state fire marshal to inform patrons
4.2 	attending a performance when indoor fireworks will be part of
4.3 	that performance.  The state fire marshal may grant a local fire
4.4 	chief the authority to issue permits for indoor fireworks
4.5 	displays.  Before issuing a permit, a local fire chief must make
4.6 	the determinations required in this paragraph.
4.7 	(e) After a permit has been granted under either paragraph
4.8 	(b) or (d), sales, possession, use and distribution of fireworks
4.9 	for a display are lawful for that purpose only.  A permit is not
4.10 	transferable.
4.11 	(f) The state fire marshal shall adopt and disseminate to
4.12 	political subdivisions rules establishing guidelines on
4.13 	fireworks display safety that are consistent with sections
4.14 	624.20 to 624.25 and the most recent ~~editions~~ edition of the
4.15 	~~Minnesota Uniform~~ State Fire Code ~~and the National Fire~~
4.16 	~~Protection Association Standards~~, to insure that fireworks
4.17 	displays are given safely.  In the guidelines, the state fire
4.18 	marshal shall allow political subdivisions to exempt the use of
4.19 	relatively safe fireworks for theatrical special effects,
4.20 	ceremonial occasions, and other limited purposes, as determined
4.21 	by the state fire marshal.

4.22 	Sec. 3. INSTRUCTION TO REVISOR.
 4.23 	The revisor of statutes shall change the terms "Minnesota
4.24 	Uniform Fire Code" and "Uniform Fire Code" to "State Fire Code"
4.25 	where found in Minnesota Statutes, sections 16B.61, subdivision
4.26 	2; 126C.10, subdivision 14; 136F.61; 245A.151; 299F.011,
4.27 	subdivisions 1, 4, 4b, 4c, 5, and 6; 299F.013; 299F.015,
4.28 	subdivision 1; 299F.06, subdivision 1; 299F.092, subdivision 6;
4.29 	299F.093, subdivision 1; 299F.362, subdivision 6; 299F.391,
4.30 	subdivisions 2 and 3; 299M.12; 414.0325, subdivision 5; and
4.31 	462.3585.